## osds
Scale | High_ID | High_material | High | High_sd | High_n | High_se | Low_ID | Low_material | Low | Low_sd | Low_n | Low_se | Ref_scale | Citation_val | Citation_cal | Treatment | O_scale_comments
OldSA.3_O_1 | CHS.3_1 | Cow hoof keratin | 5.59 | 0.24 |  |  | CFS.3_1 | Chicken feather keratin | 5.38 | 0.03 |  |  | OldSA.3_O_1 | Qi et al. 2011 Rapid Comm Mass Spec | Magozzi et al. in prep | newly packed GC column, peak detected on mass 28
OldSA.3_O_2 | CHS.3_2 | Cow hoof keratin | 5.31 | 0.19 | 3 | 0.11 | CFS.3_2 | Chicken feather keratin | 5.24 | 0.02 | 3 | 0.01 | VSMOW_O | Qi et al. 2011 Rapid Comm Mass Spec | Magozzi et al. in prep | optimal GC column and normalised to reference waters sealed in silver tubes
OldSA.4_O_1 | BWB.4_1 | Bowhead whale baleen | 12.82 | 0.13 | 3 | 0.08 | CFS.4_1 | Chicken feather keratin | 5.24 | 0.02 | 3 | 0.01 | VSMOW_O | Qi et al. 2011 Rapid Comm Mass Spec | Magozzi et al. in prep | optimal GC column and normalised to reference waters sealed in silver tubes
SA_O_8 | KHS_7 | Kudu Horn Standard | 20.3 | 0.3 |  |  | CBS_7 | Caribou Hoof Standard | 3.8 | 0.3 |  |  | SA_O_8 | Coplen 2017 USGS Rep | Magozzi et al. in prep | pre-treatment with a prep device designed to eliminate residual moisture and quantify exch H
SA_O_9 | KHS_8 | Kudu Horn Standard | 21.46 | 0.03 |  |  | CBS_8 | Caribou Hoof Standard | 2.5 | 0.11 |  |  | SA_O_9 | Qi et al. 2011 Rapid Comm Mass Spec | Magozzi et al. in prep | newly packed GC column, peak detected on mass 28
SA_O_7 | KHS_6 | Kudu Horn Standard | 21.21 | 0.17 | 4 | 0.09 | CBS_6 | Caribou Hoof Standard | 2.39 | 0.13 | 4 | 0.07 | VSMOW_O | Qi et al. 2011 Rapid Comm Mass Spec | Magozzi et al. in prep | optimal GC column and normalised to reference waters sealed in silver tubes
OldUT_O_1 | FH_1 | Florida horse hair | 14.85 |  |  |  | UH_1 | Utah horse hair | 5.67 |  |  |  | OldUT_O_1 | Chesson & Howa unpubl data | Bowen et al. 2005 Rapid Comm Mass Spec | calibration against cellulose/PEF
OldUT_O_2 | FH_2 | Florida horse hair | 13.22 | 0.21 | 6 | 0.09 | UH_2 | Utah horse hair | 3.49 | 0.16 | 6 | 0.07 | US_O_1 | Coplen and Qi 2012 Forensic Sci Int | Magozzi et al. in prep | comp eqib against US_O_1
OldUT_O_4 | FH_4 | Florida horse hair | 14.67 | 0.27 | 48 | 0.04 | UH_4 | Utah horse hair | 5.35 | 0.18 | 48 | 0.03 | IAEA_O_1 | Chesson & Howa unpubl data | Magozzi et al. in prep | calibration against IAEA602/IAEA601 (d2H values: 23.3/71.4)
UT_O_2 | ORX_2 | Oryx antelope horn from Ethiopia | 25.09 | 0.3 | 49 | 0.04 | DS_2 | Dall sheep horn from Alaskan interior | 6.02 | 0.24 | 50 | 0.03 | IAEA_O_1 | Chesson & Howa unpubl data | Magozzi et al. in prep | IsoForensics; calibration against IAEA602/IAEA601 (d2H values: 23.3/71.4)
UT_O_4 | ORX_4 | Oryx antelope horn from Ethiopia | 22.82 |  |  |  | DS_4 | Dall sheep horn from Alaskan interior | 4.66 |  |  |  | UT_O_4 | Howa unpubl data | Magozzi et al. in prep | Davis; calibration against IAEA602/IAEA601 (d2H values: 23.3/71.4) | UT_O_4 data have no associated uncertainty therefore UT_O_4-IAEA_O_1 comparison is not allowed
UT_O_5 | ORX_5 | Oryx antelope horn from Ethiopia | 23.45 |  |  |  | DS_5 | Dall sheep horn from Alaskan interior | 4.93 |  |  |  | UT_O_5 | Howa unpubl data | Magozzi et al. in prep | Texas A&M; comp eqib against SA_O_7 | UT_O_5 data have no associated uncertainty therefore UT_O_5-SA_O_6 comparison is not allowed
CAN_O_6 | AND_6 | Canadian hair | 12.26 | 0.05 |  |  | CAL-SAL_6 | Canadian hair | 5.95 | 0.11 |  |  | CAN_O_6 | Qi et al. 2011 Rapid Comm Mass Spec | Magozzi et al. in prep | newly packed GC column, peak detected on mass 28
CAN_O_7 | AND_7 | Canadian hair | 12.22 | 0.12 | 3 | 0.07 | CAL-SAL_7 | Canadian hair | 5.97 | 0.08 | 3 | 0.05 | VSMOW_O | Qi et al. 2011 Rapid Comm Mass Spec | Magozzi et al. in prep | optimal GC column and normalised to reference waters sealed in silver tubes
CAN_O_5 | AND_5 | Canadian hair | 11.86 | 0.07 | 6 | 0.03 | CAL-SAL_5 | Canadian hair | 5.49 | 0.16 | 6 | 0.07 | US_O_1 | Coplen and Qi 2012 Forensic Sci Int | Magozzi et al. in prep | comp eqib against US_O_1
US_O_1 | USGS43_1 | Indian hair | 14.11 | 0.1 |  |  | USGS42_1 | Tibetan hair | 8.56 | 0.1 |  |  | US_O_1 | Qi et al. 2011 Rapid Comm Mass Spec; Coplen and Qi 2012 Forensic Sci Int | Magozzi et al. in prep | TCEA; average of individual measurement over 4 d
US_O_8 | USGS43_8 | Indian hair | 14.4 | 0.1 |  |  | USGS42_8 | Tibetan hair | 8.85 | 0.15 |  |  | US_O_8 | Qi et al. 2011 Rapid Comm Mass Spec | Magozzi et al. in prep | newly packed GC column, peak detected on mass 28
US_O_5 | USGS43_5 | Indian hair | 15.96 | 0.41 | 0.44 | 0.06 | USGS42_5 | Tibetan hair | 9.94 | 0.36 | 56 | 0.05 | UT_O_2 | Howa unpubl data | Magozzi et al. in prep | comp eqib against UT_O_2
US_O_7 | USGS43_7 | Indian hair | 14.11 | 0.07 | 4 | 0.04 | USGS42_7 | Tibetan hair | 8.56 | 0.05 | 4 | 0.03 | VSMOW_O | Qi et al. 2011 Rapid Comm Mass Spec | Magozzi et al. in prep | optimal GC column of two different lenghts and using N2-diverting valve
IAEA_O_1 | IAEA601_1 | Benzoic acid | 23.3 | 0.3 |  |  | IAEA602_1 | Benzoic acid | 71.4 | 0.5 |  |  | IAEA_O_1 | Brand et al. 2009 Rapid Comm Mass Spec, Chesson 2012 IsoForensics Rep | Schimmelmann 2002 IAEA Rep, http://isostandards-crm.com/documentos/productos/coa/IAEA-601.pdf, http://isostandards-crm.com/documentos/productos/coa/IAEA-602.pdf | average of values determined with online (MPI Jena) and offline (Indiana University) methods; measurements from other labs are welcome
IAEA_O_2 | IAEA601_2 | Benzoic acid | 23.14 | 0.19 |  |  | IAEA602_2 | Benzoic acid | 71.28 | 0.36 |  |  | IAEA_O_2 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report, https://nucleus.iaea.org/sites/ReferenceMaterials/Pages/IAEA-601.aspx, https://nucleus.iaea.org/sites/ReferenceMaterials/Pages/IAEA-602.aspx | Magozzi et al. in prep | cal against a ref water and two barium sulfates using a variety of HTC techniques | Average of values determined at six labs (USGS,ETH,CIO,MPI-BGC,UFZ,ANU)
IAEA_O_3 | IAEA601_3 | Benzoic acid | 23.02 | 0.13 |  |  | IAEA602_3 | Benzoic acid | 71.26 |  |  |  | IAEA_O_3 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Magozzi et al. in prep | USGS
IAEA_O_4 | IAEA601_4 | Benzoic acid | 23.14 | 0.17 |  |  | IAEA602_4 | Benzoic acid | 71.24 |  |  |  | IAEA_O_4 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Magozzi et al. in prep | ETH
IAEA_O_5 | IAEA601_5 | Benzoic acid | 23.03 | 0.08 |  |  | IAEA602_5 | Benzoic acid | 71.17 |  |  |  | IAEA_O_5 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Magozzi et al. in prep | CIO
IAEA_O_6 | IAEA601_6 | Benzoic acid | 22.95 | 0.53 |  |  | IAEA602_6 | Benzoic acid | 71.01 |  |  |  | IAEA_O_6 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Magozzi et al. in prep | MPI-BGC
IAEA_O_7 | IAEA601_7 | Benzoic acid | 23.42 | 0.65 |  |  | IAEA602_7 | Benzoic acid | 72.3 |  |  |  | IAEA_O_7 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Magozzi et al. in prep | UFZ
IAEA_O_8 | IAEA601_8 | Benzoic acid | 23.48 | 0.11 |  |  | IAEA602_8 | Benzoic acid | 71.31 |  |  |  | IAEA_O_8 | Brand et al. 2009 Rapid Comm Mass Spec; Brand et al. 2014 IUPAC Report | Magozzi et al. in prep | ANU
VSMOW_O | VSMOW | Water | 0 |  |  |  | SLAP | Water | -55.5 |  |  |  | VSMOW_O | https://nucleus.iaea.org/rpst/documents/VSMOW_SLAP.pdf